## platelets
Analyte: | platelets
Component pool (Component-only pool): | << 246093002 ¦Component (attribute)¦ = 16378004 ¦Platelet (cell)¦
Pool size: | 19 | Unclassified (highlighted): | 0
Use-case buckets (columns) — classified by Scale type + Property:
Complete aggregation = 19 | Everything mapped to the component: any Scale type, any Property, any specimen. Defines the candidate pool = upper bound. Includes the generic 'Measurement of X' grouper concepts.
Quantitative (all numeric) = 17 | Quantitative-scale measurements PLUS generic measurement-property concepts without an asserted scale. All numeric/measured results, including ratios and fractions.
Quantitative & convertible = 15 | Quantitative with a concentration property (mass/substance/arbitrary/number/quantity), excluding ratios and fractions. The set whose values can actually be pooled / unit-converted.
Qualitative (ordinal / nominal / presence) = 2 | Ordinal or Nominal scale, OR Presence property. Presence/absence, +/-, dipstick-style results.
Semi-quantitative (test strip) = 0 | Semi-quantitative scale — test-strip / dipstick reads that are neither strictly quantitative nor purely qualitative (e.g. nitrite, urine hemoglobin by test strip).
Panel / order code (no Property) = 0 | Observable with a Component but NO Property attribute (often + Technique only, e.g. 'Differential count of white blood cells'). Structurally an order / battery code that resolves into several component results — NOT a single measurable value. Excluded from result-aggregation ValueSets; handle via panel expansion.
SCTID | FSN | PT | Complete aggregation | Quantitative (all numeric) | Quantitative & convertible | Qualitative (ordinal / nominal / presence) | Semi-quantitative (test strip) | Panel / order code (no Property) | Use case | Reason
483341010000106 | Presence of platelet in blood at point in time (observable entity) | Platelets [Presence] in Blood | Y | · | · | Y | · | · | qualitative | Ordinal/Nominal scale → qualitative
232631010000108 | Presence of platelet in blood at point in time by light microscopy (observable entity) | Platelet adequacy [Presence] in Blood by Light microscopy | Y | · | · | Y | · | · | qualitative | Ordinal/Nominal scale → qualitative
732051010000102 | Measurement of platelet in blood (observable entity) | Platelets [Measurement] in Blood | Y | Y | · | · | · | · | quantitative | Measurement property, no scale asserted (generic)
190041010000101 | Number areic of platelet in blood at point in time by high power field light microscopy (observable entity) | Platelets [#/area] in Blood by Microscopy high power field | Y | Y | · | · | · | · | quantitative | Quantitative scale
156651010000101 | Arbitrary concentration of platelet in dialysate at point in time (observable entity) | Platelets [Units/volume] in Dialysis fluid | Y | Y | Y | · | · | · | quantitative_convertible | Quantitative scale + concentration property
66141010000105 | Number concentration of platelet in Bld^Fetus at point in time by automated count (observable entity) | Platelets [#/volume] in Blood from Fetus by Automated count | Y | Y | Y | · | · | · | quantitative_convertible | Quantitative scale + concentration property
90581010000105 | Number concentration of platelet in blood at point in time (observable entity) | Platelets [#/volume] in Blood | Y | Y | Y | · | · | · | quantitative_convertible | Quantitative scale + concentration property
218801010000106 | Number concentration of platelet in blood at point in time by automated count (observable entity) | Platelets [#/volume] in Blood by Automated count | Y | Y | Y | · | · | · | quantitative_convertible | Quantitative scale + concentration property
487891010000102 | Number concentration of platelet in blood at point in time by automated count in presence of EDTA to detect possible clumping (observable entity) | Platelets [#/volume] in Blood by Automated count --in presence of EDTA to detect possible clumping | Y | Y | Y | · | · | · | quantitative_convertible | Quantitative scale + concentration property
56141010000104 | Number concentration of platelet in blood at point in time by automated count.optical (observable entity) | Platelets [#/volume] in Blood by Automated count.optical | Y | Y | Y | · | · | · | quantitative_convertible | Quantitative scale + concentration property
86361010000105 | Number concentration of platelet in blood at point in time by estimate (observable entity) | Platelets [#/volume] in Blood by Estimate | Y | Y | Y | · | · | · | quantitative_convertible | Quantitative scale + concentration property
268771010000105 | Number concentration of platelet in blood at point in time by manual count (observable entity) | Platelets [#/volume] in Blood by Manual count | Y | Y | Y | · | · | · | quantitative_convertible | Quantitative scale + concentration property
260911010000103 | Number concentration of platelet in body fluid at point in time by automated count (observable entity) | Platelets [#/volume] in Body fluid by Automated count | Y | Y | Y | · | · | · | quantitative_convertible | Quantitative scale + concentration property
124101010000103 | Number concentration of platelet in capillary blood at point in time by manual count (observable entity) | Platelets [#/volume] in Capillary blood by Manual count | Y | Y | Y | · | · | · | quantitative_convertible | Quantitative scale + concentration property
172051010000108 | Number concentration of platelet in cord blood at point in time (observable entity) | Platelets [#/volume] in Cord blood | Y | Y | Y | · | · | · | quantitative_convertible | Quantitative scale + concentration property
247121010000104 | Number concentration of platelet in cord blood at point in time by estimate (observable entity) | Platelets [#/volume] in Cord blood by Estimate | Y | Y | Y | · | · | · | quantitative_convertible | Quantitative scale + concentration property
136661010000100 | Number concentration of platelet in plasma at point in time (observable entity) | Platelets [#/volume] in Plasma | Y | Y | Y | · | · | · | quantitative_convertible | Quantitative scale + concentration property
71831010000107 | Number concentration of platelet in plasma at point in time by automated count (observable entity) | Platelets [#/volume] in Plasma by Automated count | Y | Y | Y | · | · | · | quantitative_convertible | Quantitative scale + concentration property
149011010000103 | Number concentration of platelet in platelet rich plasma at point in time by automated count (observable entity) | Platelets [#/volume] in Platelet rich plasma by Automated count | Y | Y | Y | · | · | · | quantitative_convertible | Quantitative scale + concentration property